VALENCIA WATER CONTROL DISTRICT NOTICE OF 2018 ANNUAL LANDOWNERS' MEETING &
ANNUAL SUPERVISORS MEETING

Please be advised that the Annual Meeting of the Landowners of Valencia Water Control District will be held on Tuesday, June 12, 2018 at 1:00 P.M. in the Lake Ridge Village Clubhouse, 10630 Larissa Street, Williamsburg Subdivision, Orlando, Florida. The Annual Supervisors Meeting will follow. Attached are Agendas for the meetings.

George S. Flint, District Director
DIRECTIONS TO MEETING:
From Orlando go West on 1-4 to the Beach Line Expressway (528); go east past International Drive to Orangewood Blvd.; Go South on Orangewood Blvd., through 4- way stop at Gateway, turn left on Larissa Street. Proceed to Lake Ridge Village Clubhouse (on right).

DISTRIBUTION
James A. Gerard; William Ingle; Ed Neal; Greg Bales; Debra Donton; David E. Mahler; Stephen F. Broome; Green Briar Village Clubhouse; Lake Ridge Village Clubhouse; Lime Tree Village Clubhouse; Montpelier Village Clubhouse; Parkview Pointe Village Clubhouse; Somerset Village Clubhouse; Deer Creek Village Clubhouse; Wingate Club; Tom Johnson, Orangewood HOA; Waterview HOA, and Windsor Walk HOA.
"Persons are advised that ifthey decide to appeal any decisions made at these meetings/ hearings, they will need a record of the proceedings and for such purpose they may need to ensure that a verbatim record of the proceedings is made which includes the testimony and evidence upon which the appeal is to be based, per section 298.0105, Florida Statutes. "
"In accordance with the Americans with Disabilities Act, persons with disabilities needing a special accommodation should contact Valencia Water Control District at
(407) 355-5741, not later thanforty-eight (48) hours prior to the meeting."

ANNUAL LANDOWNERS MEETING

AGENDA
49th ANNUAL MEETING OF ALL LANDOWNERS WITHIN VALENCIA WATER CONTROL DISTRICT
June 12, 2018 lP.M.
LAKE RIDGE VILLAGE CLUBHOUSE 10630 LARISSA STREET WILLIAMSBURG
ORLANDO, FLORIDA 32821

Item:
Call meeting to order
Acknowledge Notice of Meeting Proof of Publication
Approval of minutes of the June 13, 2017 Annual Landowners Meeting
Accept any nominations from the floor to fill the expiring Supervisor's position:
5 year term, 2018 to 2023, other than Debra Donton
Verify Landowners present that are planning to vote in person and number of voting units represented by each. Cast votes and record totals.
Tabulate total of votes cast in person and by proxy
Annual Report of the District Engineer (David Mahler)
Annual Report of the District Legal Affairs (Stephen Broome)
Other business or concerns ofLandowners within the District
Adjournment of Meeting of Landowners

MEDIA GROUP

Orlando Sentinel
Published Daily ORANGE County, Florida

STATE OF FLORIDA COUNTY OF ORANGE
Before the undersigned authority personally appeared Paul Koch/ Tina Robinson/ Karen Pistone, who on oath says that he

CASE NO. 70-125,

/ she is an Advertising Representative of the ORLANDO SENTINEL, a DAILY newspaper published in ORANGE County, Florida; that the attached copy of advertisement, being a Legal Notice in the matter of 11220-2 Column Legals,
in the Circuit Court was published in said newspaper in the issues of May 22, 2018; May 29, 2018.
Affiant further says that the said ORLANDO SENTINEL is a newspaper published in said ORANGE County, Florida that the said newspaper has heretofore been continuously published in said ORANGE County, Florida, each day and has been entered as periodicals matter at the post office in ORANGE County, Florida, for a period of one year next preceding the first publication of the attached copy of advertisement; and affiant further says that he or she has neither paid nor promised any person, firm or corporation any discount, rebate, commission or refund for the purpose of securing this advertisement for publication in the said newspaper.
Af'oL- r<__oy{/
PrirM<lName of Affiant
r?�I✓
Signature of Affiant

flM?tk;-/7�	

29 day of May 2018 by above said affiant, who is personally known;9-ime (X) or who has produced identification ( ).
  
Signature of Notary Public (Typed, Printed or Stamped

INTHe CIIICUFf COUllt NINTH �UlllaAI. �IN AND FOR OIIAlll1EdiuNTY, l'UIRmA CASE

,TO ALL OWNERS OF LAND W ITHIN

NO.n.125

IN RE: VALENCIA WATER CONTROL DISTRICT 'VALENCIA WATER CONTROL DISTRICT

Meeting, to be followed bY the Annual Meeting of the Board mofaSvupecormviesobresf.ore  the

YthOeUAAnnRuEalHMEeRetEinBgYoNf AOlTlILFaIEndDowthnaetr,spwuritshuianntthteoVSeAcLtEioNnC2I9A8.1W2,AFTlEo�RldCaOSNtaTtuRtOesL, FDlIoSrTidRaICoTn,MJnacvor2PO7, r1a97te0,dwbivllaben OhredlderToufetshdeayC,irJcuuniet C12o,u20rt1I8naatnld:00forPO.Mra.nagtethCeouLnatkve, R32f8d2g1e, tVorilltahgeepuCrluPOSebhouosfee, le10c63tin0g LoanreismsaemSbetrereto,  Wa Ifiiviie--amvesabrurtge,rmOrtloanthdeo,BFoalorrdidoaf Sofu_peOrravnisogersC, owuhnitcyh, manedmtbeo rcsomnduuscttbesuocwh noetrhseorf blaunsdinIenss aaids District and a resident

section 298.0105, Florida Statutes."

m"Peeertsionngss/haeraeriandgvsi,sedtheythwatillIfneethedvadreciodred toof tahpepepraocl  aenedvindgesciasniodnfos  mr saudceh apturthpaesse Itnhcelvumdeasvthne edtesttolmenosnuvreatnhdatevoidveenrcbae tiUmPOrnecwohrdichof tthhee approcpeeedal Iisngtso Ibes mbaadseedw, hpeichr

:me

"speIncaiaclcoradaccnomcemwoditahtitonhes Aamt ertihcias nsmweeitthingDlsbeabclallutseles Aofct,dlasnavbllpeltvrsonor reqPhuvisrlicngal 1 iemigpahtir(m48e)nht osuhrosulpdrciornttaoctthethemDeisettrinictg.OffIficveoaut a(40re7)hea841r-iSn5g24o"r 1s0pee1, acthlealmstPofolrretvd­, DplieastrsiectcOonftf'a.ccet."the Florida  �elav Service,  H!00-955-8770, for  aid in contacting the ·
?it��f,!._�r16lru��Jtc'i���	Circuit Court
05561\1786	5/22fl018,5.'29/'l018!

MINUTES OF THE 2017 ANNUAL MEETING OF ALL LANDOWNERS WITHIN VALENCIA WATER CONTROL DISTRICT
June 13, 2017
The Annual Meeting of the Landowners of VALENCIA WATER CONTROL DISTRICT was held at 1:00 P.M. on Tuesday, June 13, 2017, in the Lake Ridge Village Clubhouse, Williamsburg Subdivision in Orlando, Florida. Present were Supervisors James
Gerard, Ed Neal, Gregory Bales and Debra Donton. Also in attendance were the following: Stephen F. Broome, District Attorney; David E. Mahler, District Engineer; William Tew, District Director; Stacie Vanderbilt, District Administrative Assistant; Teresa Viscarra, District Accounts Payable; Donna Finklestein - Lake Ridge Resident; Mr. & Mrs. Pat Annunziata - Deer Creek Village Residents; and Karen & Dennis McGowan - Parkview Residents

ITEM#l	Call Meeting to Order

Mr. Tew called the meeting to order at 1:00 PM.

ITEM#2		Acknowledge Notice of Meeting Proof of Publication
The Proof of Publication of the Notice of Meeting was included in the agenda package and made part of the minutes.

ITEM#3	Approval of Minutes of the June 14, 2016 Annual Landowners' Meeting
Mr. Tew stated that the next item was the approval of the minutes of the June 14, 2016 annual landowners' meeting. He asked if there were any questions, additions or deletions.
There being none,
On MOTION by Mr. Bales seconded and carried with all in favor the minutes of the June 14, 2016 Annual Landowners' Meeting were approved as presented.

ITEM#4

Accept any Nominations from the Floor to Fill the Expiring Supervisors' Positions

5 Year Term, 2017 to 2022 other than James Gerard or Donna Finklestein

June 13,2017	Valencia Water Control District

There being no nominations from the floor, the next item followed.

ITEM#S	Verify Landowners Present that are Planning to Vote in Person and Number of Voting Units Represented by Each. Cast Votes and Record Totals
The landowners present did not elect to cast votes.

ITEM#6		Tabulate Total of Votes Cast in Person and by Proxy
Mr. Broome stated that there were 2,354 votes for James Gerard; 170 votes for Donna Finklestein; 1 vote for Alan Briggs and 1 vote for Dan Lantz which he would cast by proxy for the 2017 to 2022 term.
James Gerard was elected to the 2017 to 2022 term on the Board of Supervisors.
Mr. Broome stated that there were 2,348 votes for compensation and 61 votes against compensation with 51 abstaining. The Board of Supervisors will receive compensation for attending District meetings.
ITEM#7	Annual Report of District Engineer

Mr. Mahler presented his annual report and stated that he and Mr. Tew were working on a list prioritizing the maintenance items that would need to be performed over the next few years. He stated that most of the District's property looked good and that some issues arose due to the construction on the 528. He went through the report with the Board and explained the tables included. He stated that the NPDES requirements included monitoring so he would be working on providing the historical information.
Discussion ensued.

ITEM#8	Annual Report of the District Legal Affairs

Mr. Broome reported that there was no pending or threatened litigation. He stated that the legal work mainly consisted of attending monthly meetings.

2

June 13, 2017	Valencia Water Control District

ITEM#9	Annual Report of the District Treasurer

Mr. Tew presented the balance sheet noting that the District was in good financial condition and was within budget.

ITEM#l0

There being none,

ITEM#ll
The meeting adjourned at 1:09 P.M.

James A. Gerard

William Von Ingle

Ed Neal

Greg Bales

Debra Donton

Other Business or Concerns of Landowners Within the District

Adjournment of Meeting of Landowners

Stephen F. Broome, Secretary

3

Memo
Date:	May 10, 2018
To:	Board of Supervisors Organization: Valencia Water Control District
10365  Orangewood Boulevard
Orlando,  Florida 32821
From:	Mahler, David E. (P.E)
Re:	ANNUAL REPORT OF .THE DISTRICT ENGINEER
CPH Job No.: 6816.07

CPHlnc.
1117 East Robilison Stteet Orlando, Florida 3280]
Jhone: 407-425-0452
www.cphengineers.com

MEMBERS OF THE BOARD:
This is to serve as the Chief Engineer's Annual Report to the Board of Supervisors as required under Chapter 298, Florida Statutes. As such, this report serves as a brief summary of the activities of the Engineer from June 2017, to date. This report is for submission at the 2018 Annual Meeting of Landholders, Valencia Water Control District, June 12, 2018, in the Lake Ridge Village. Clubhouse, Orlando, Florida.
The following is a list and brief summary of the items on which the District Engineer worked on or was involved with:
Reviewed and tabulated monthly water quality data. The general level of water quality is satisfactory. A copy of the sampling analysis results for the fiscal year 2017/18 is attached.
Made periodic field inspections as requested by the District Director while in the area for various meetings regarding permits and ongoing construction activities.
Provided general coordination, liaison, and technical advice to landowners, developers and their f.mgipeering representatives on design criteria, regulations, and other matters
pertinent to the District's business.
OverS,aW repair$ to District facilities by contractors,  such as washout repairs,  cleaning· and general niaintenan.ce.

·

The Engineer  prepared •tor and attended au. regular board. meetings of the District  .In addition, the Engineer attended a number of special meetings regarding developer's projects within the District

J�881M5\WORD\Anmlal Reports\201812018 Annual Reporldocx

Bill Tew, Dari Brown and I conducted a drive,-through inspection of the District on February 1, 2018, to review th.e conditions of the Works of the_ District and to determine ttie status .of proJect(sJ completed and/or their operational condition. The projects we
:inspected this year were primarily the original VWCD ponds, structures and �anal$. A summary of our annual inspection is listed in Attachment II .
Attended NPDES meetings held by Orange County Environmental Protection Department as well as the South Florida Water Management District.
Attended annual Okeechobee Basin Management Action Plan (BMAP) Meeting.
Permit applications and plans (shown on Attachment I) submitted by developers and others were reviewed by the District Engineer .and checked for compliance with Valencia
Water Control District requirements. In some cases, changes were recommended and upon resolution of the issues, the projects were recommended for approval to the District.

Attachments:

J:\6816Jl5\WORCWmual Repcrts\201812018Annual Report.docx

Attachment I

Permit  Review  and  Processing  (Not including individual irrigation permits processed by District office.) 

PERMIT	DESCRIPTION	APPROVED
NUMBER	DATE

Category I - Permits Issued Since Mav 201 7
0163B-1	SeaWorld Project 2019 Recreation - Theme Park Attraction	1/9/18 Letter Modification
0476	SeaWorld Orlando 2018 Proiect Minor Modification	9/1 2/1 7 0496	Grande Pines Mass Gradinq Plans	6/13/17 0497	Orchid Bay Master DP - Bldg B2 (Portion of Parcel 15A)	10/10/17 0498	Orchid Bay Parcel 15A - Pearl Eagles Hotel	10/10/17
0499	LaQuinta Hotels, Orchid Bav, Parcel 15B	10/10/17
0500	TECO Gas Main Replacements - Williamsburg	10/10/17
0501	C-11 Canal Directional Drill in JYP ROW	10/10/17
0502	Aloft and Clement Hotel Project	4/1 0/1 8

Category II	Permits on Hold
None at Present
Category Ill	Permits With Work Not Acceptable to the District
None at Present	
Cate9orv IV	Permits in Process
None at Present
Category V Projects Reviewed • No Permit Requi red
None at Present		

Memo

1117 East Robinson Street Orlando, Florida 32801
Phone: 407.425.0452
Fax: 407.648.1036
www.cphengineers.com

Date:
To:
Organization:
From:
Re:
CPH Job No.:

May 4, 2018 
Board of Directors
Valencia Water Control District
David E. Mahler, P.E., District Engineer
Annual Inspection by District Engineer - February 1, 2018 681 6.07

The annual inspection was performed on Thursday February 1, 201 8. Present for this inspection were Bill Tew, Dan Brown and myself. We drove to the various locations within the District as part of the Annual Inspection to review the current condition of the canals and the structures, and to discuss issues related to the condition and maintenance of the system. The weather was clear. For the 2018 inspections, a total of 42,885 lineal feet of canals were inspected.  In addition to the canals, we also inspected 17 ponds that are owned and maintained by the District. The following sites were visited, and the conditions of the facilities are described below.
C-1 Canal
The C-1 canal is in generally good condition. Orange County had a problem with one of their air relief valves on their water main at Orangewood Boulevard . The leaking ARV was repaired. There is a weir that has washed out across from where the C-1 and C-3 intersect. The failure was due to construction activities of Hubbard Construction. This will need to be monitored to make sure that it is repaired by them.

The northwest end of the C1 was the next stop. We looked at the pipe entering the C1 from CFP into the canal. This will need to be addressed with Orange County. Notification has been made to the engineers working on the Beyond 14 Ultimate project that this is the discharge location for them and that the problem exists and will need to be corrected.
The S-1 01 and S-1 02 or in good condition. The S-1 02 was being held open for weed control spraying to occu r. It was noted that there is a large amount of sediment that should be removed from the canal from previous washouts that have occured.
Canal
The canal is generally in good condition.

Canal
The canal itself is in fair condition. There have been a number of washouts that have occu rred along the canal over the past year or so. We have been looking into the cause of this and have J:\681 6.05\WORD\Annual Reports\20 1 8\2018 Annual Inspection Report.doc	1

found that the control structures at the west end of the canal are beginning to show signs of age. They are leaking in numerous locations and the corrugated metal piping (CMP) is rusting through. In addition, the stop logs were not all in place in the structures. We have had Dan Brown with Sthern Environmental replace the stop logs in the structures. The pipes that go under the road show sign of rusting and will need to be lined so that they do not fail completely at some point in the future. In addition, the Sea World pond is covered with vegetation and thus it does not have its full capacity to provide attenuation of storm events.
In addition to the above noted items, there is undermining of the splash pad at the east end of the outfall pipes where they enter the C-4 canal. This will need to be repaired/replaced when the outfall structures are replaced.
CPH provided a planning level cost estimate to the Director to replace the outfall structures, reline the pipe that cross under the road and repairing the concrete splashpad at the east end of the pipes for inclusion of this in the upcoming fiscal year budget.
Canal and S501
The C-5 Canal appeared to be in good general condition. 
On the east bank of the C5 canal just downstream of S501 minor erosion was noted in last year's report. This is still there but has not progressed to be causing any issue at this time. We will continue to monitor this and if it gets worse, we will have a quote prepared to make repairs to the area and bring it to the board for approval.
We did not look at the section of the C5 being maintained by Sea World. However, the portion from the C4 to Sea Harbor drive was inspected.
The S501 structure looked in fair condition. The arm that was rusting is scheduled for repair by Sthern Environmental prior to the mowing and wet seasons.
It was noted that the water in the C5 looked very turbid at the time of our inspection. We also went onto Sea World Property as far up the C5 as we could get through their employee parking area and the water was turbid there as well. We notified the appropriate staff at Sea World to have them investigate the source of the turbidity.
Canal and S-601
The C-6 Canal is in generally good condition. All previous repairs are holding up fine. Structure S-601 is in good condition.
Canal
This canal towards Area 1 pond is in good condition.
The canal overflow weir structure on the west side of Gifford Boulevard appears to have a void under the concrete. This will need to be investigated further to determine the extent of the void and the repair options. This void was noted during the installation of the new trash skimmer that was installed across the weir.

J:16816.05\WORD\Annual Reports\201 81201 8 Annual Inspection Report.doc	2

There is a large amount of tree growth across the canal from the weir structure that needs to be trimmed/cut back so that access is maintained along the canal bank.
Structure S-901 is in good condition.
Canal
This overall canal is in fair to good condition. The water is still turbid from the Beachline construction activities. There are also a number of locations along the new wall that was constructed by FDOT that have erosion occurring. This appears to be the result of the wall installation and the grading on the beachline side of the wall. They have the area graded such that the water collects and discharges through openings in the wall.
Tract F has noticeable amounts of sedimentation that will need to be cleaned out in the near future. This sedimentation appears to be coming from the County's collection and conveyance systems throughout the neighborhood. The County generally takes the position that even though the materials came from their pipes, it is now in Valencia's property, so Valencia is responsible for cleaning it up and removing it.
The county has a drainage easement and swale between Crown Court and Donhill Court. From the end of the swale to the C10, there is a pipe that is failing and needs to be repaired. The County will need to repair or replace the pipe and they will also need to install a new MES on the pipe. This will also need to have rip rap installed at the end of pipe.
We then traveled west along the C10 to look at the ruts in the bank a little way down from Gifford Blvd. It appears that the homeowner is watering the area and causing the ground to become saturated. We need to notify the homeowner to stop over watering the canal area. We should also bring in a load of dirt to fill in the ruts and regrade and sod the area.
C-1 1 Canal
The Canal is generally in good condition. The washout at the intersection with Orange Blossom Trail is continuing to get worse. We have met with Orange County and FOOT as this failure was caused by their systems. Orange County has taken the position that it is not their responsibility and are unwilling to assist in getting the problem repaired. FDOT on the other hand was working with us to try and get the County to participate. However, with the County not willing to change their position, FDOT has moved forward with getting a temporary repair done and will be working in the future to have a project done that will realign the piping to match the direction of the canal as opposed to the way that it is now angling towards the side of the canal.
There is some bank erosion occurring south of Taft Vineland Road that will need to be monitored and if it gets worse, it will need to be repaired.
The S-1101 & S-1102 structures are in good condition.
C-1 2 Canal
The Canal is generally in good condition.
Deer Creek Ponds 1A, 1 B & 2
These three ponds are in good general condition.
J:1681 6.05\WORD\Annual Reports\201 812018 Annual Inspection Report.doc	3

Deer Creek Ponds 3
Deercreek 3 pond looks good. The area where the outfall pipe was repaired is fine and no further signs of problems.
Deer Creek Ponds 4
Deercreek pond 4 is generally in good condition. There is some erosion occurring at the top of the MES as well as a small depressional area about six feet from the outfall. It is recommended that these areas be repaired before larger problems occur as a result of the erosion.
Deer Creek Ponds 6 Deercreek pond 6 looks good. Parkview Terrace
The pond is in good general condition. The storm pipe that showed signs of settlement has not gotten any worse, so it is recommend that the depressional area be backfilled and the area monitored for any signs of continued settlement.
Parkview North Ponds
The ponds are in good general condition. There is a storm pipe on the west side of
Parkview Pointe Pond
The pond is in good general condition. There is a storm pipe along the west side of 5984 Parkview Point Drive that may be leaking causing settlement. This is located approximately eight feet from the end of the pipe where it enters the pond. It is recommended to fill the depressional area and monitor to see if the problem returns.
Somerset Ponds 1 & 2
In general, the ponds are in good condition. There is evidence of sedimentation occurring where the pipes enter the pond. Suggest implementing a plan for maintenance and removal of the sedimentation every seven to ten years.
Lake Ridge Village Area 1 Pond
The pond and structures are in good general condition.
The large MES outfall from the neighborhood into the westernmost point of the pond that was noted on last year's report has not yet been repaired by the County.
Cattails are growing along the northeast end of the pond. These should be sprayed so that they do not get overgrown and out of control.
The pond outfall control structure skimmer is broken and in need of repair. Sthern Environmental has coordinated with the District Director and they will be repairing the skimmer. In addition to the skimmer needing repair, there is a buildup of sedimentation in the area if front of the structure that should be removed in the future.
J:\6816.05\WORD\Annual Reports\201 8\2018 Annual Inspection Report.doc	4

Waterview Area 2 Ponds
The pond and structures are in good condition.
There is sedimentation buildup at the pipe outfalls from the neighborhoods into the pond that will need to be removed in the future.
Briarwood Townhomes Pond
The pond and structures are in good condition. The pond had its NPDES inspection performed on January 28, 201 8.
Windsor Walk Ponds
The easternmost pond has sedimentation occurring again. The west pond has a proliferation of lily pads that need to be sprayed/removed . The center pond is in good condition.

Should there be any questions regarding the inspection or if more information is needed on any of the items noted, please let us know and we will provide this information.

J:\6816.05\WORD\Annual Reports\2018\201 8 Annual Inspection Report.doc	5

11-JM-17 f 15-Feb-17

VALENCIA WATER CONlROL DISTRICT

L_t5-M�!_ _J      21..Aipt•1T	22-1,1.,.,17     I     16-Jun-17

NW. SAHTIENRGQLEUACLRITYEEKSAT PTLHIENGBEARECSHULLTINSE28.Ju�17	-11     I      t,t.Sap-tT     I      1:J.Oct..17	10-Now•tT     I      15-Deo-17

TPotaaralmnNic::eti Ner

ans

Units	MDL

o..auen

o0..50332

0o..5sw44	0o..e32249	o,m	1t..0500

o.454754

11..0515

o0.564363

..290476

o..822

o..S5552

...... AVG

1.05

MAX

INNtP'l0itra3i.ll+�aass NasNI  NI

1l'I.II,... 	0.00200200100

00..01121111

0.0029022545

0...,020021	00...0020664534	0om...0m134	00..0020552266_	00.040032773	000...0098072 952	,.o020z1	...o02230z135

0...002021       --- -:iG._l2  -

a.mio5i7i0.GSZ2i

rniJi,.20

:ICoFecatlor COllom1

cu  tOOmt..	15.0000 	34200

78	15

t5<IO

556	6s40

5157

s1 36	.1 	12-4

5265

,O,1.59

1-0.20

TTFialdSotaSlpHSo&l(lnls   t

fP,HwtIL

010...0002000100 50

1O7..8o62S5	017...3025735 3

107.25346	0!1_..06352

701..049916

407.217	027..7025119

270.,.32290191	07...09017128

7O.m..'J2 2	017...05152326

21.J.43l12235

.,1!1D41701t

~- m

FieldietdDn.tildtvO

mollumtm/cm.

00..110000	.2=u56a	52=.9718	e3-.09n

3=s66m

=S26.,!9_

2~536.32	62=04.34

2=45099	15653•	=,,1..5

�=288	3'�,744

ffl5=.42

=nOG

I�NTU	�0 100	2.S9	l.97	-	3.0-7   ----,.,----  3.1'1	7.$	3 08	6.12	7.94	1_6.1	5.72	.59	:SS---- , 	,
=	=	=	=	•	=	=	�	=	-	=

.....

0O0.oo:200..000100100

000..09'26000021

0...000210418

00•..00,w13n13	0Jl0..oo051z27	0,JlD.0006612 1a	0...00001◄212	0...0000209187	0...00om08118

0,..000023716	u000...0020003159	0o...00ooz071ol9

,.M.00(I07l2l97	00...000101252100

uO...000:JJ'0mlilO2100

""""'
iiair..n"""""

�	1ID00...00050000210000	0UD0Xl!i6	0..00001452	00..00001853	0..OOOS0184	,0179	0..00001459	0.00001356	0.,0005,0207	0..ooos0,66	00..00000859

.00000925	..00050177	I.00U15055	0..00020075

0...00002121

00o...00002111

..00oo2002114

00...000022221

..00.0022197

0...o04000021

o.�.0CM00499

...000020011

0..000020011

,..00cm001

0...0000200126

00...00000202191

...00004G20OG9

Cadmium

�

D0000002001000000

00.000,2,000131 1	o..00D68312	00...00000041221

oo..ooG00loci1,1	o..OOOS..00020008061

0o..o0000c26m21	o..000000364112

0...00000011172

0...000200011564

ll0o1JOO..0003091Z

.04500000122:	,0.._000200043067	o00...0u00002115e

...o0a003602os

Ca.J'l'e'.
Lud

�

Cobait

m�'L

DD..0000110000

J0n_.0000 _1!9

fo..o00013

to0�.000011�

l00o.00..002116

t0o...0000117

to00...000000128

I0...0000111

J9..00�0013l7

!Q.000030017

lo,□D..00oo00__!_u1

}o..000070011	I01X1..00003114

]000...0000121051

I0.000O0l'7101r

�_,,Silver       m

-...

I00110.000500100

ti..00GOOS1	0..0.000051

0.0000015

..ooos001	0..0000015

0..00o..ooos1

o.0009001	0..00o310t	la.ooo001s	lo.00ooo1s	IQ,.0000015

0..003001!1	-0,.003170

0.00030110

,r.
':';diu"n

�Tiiai:im

�	:o.oosoo	.oos	o aas

..oo00s21

o..OOlo::is	.oo.D01s9	oo..oosu	0..oo00s21

o0.002aos,

.00oos1,	0a-00.00519	0o..oo00s1,

.0oo020so

o..OOoozrSIJ

�=

o0O.:oor.Cl02000010o0o

o...oo..00oo2zn

�

ii=Total. Hard,-ss I• OtCOlt

=427.28,5	!il=2l.5

a=2o.8.77

=3�.36

=698.l	1=52.24003.0

=	-	=	=	=	=

=	=	=	=1

=	=0	124

9432.6	9=35.176	92=3.5.3B

=3100.22

=512.234

72=2.66.B	�=1.881	9=33.1.5

0.100

0.0,00
0.0,00�

..

4002.44026117	0.0.U30S188

..710951 7

0~5...02842S313	07...2z01r161	01.80137176	.4054129425

03.069533447

02D..o:2990414	0D2...082523697	I00l..74011646	0...25150412

.1410	07o...t3z17r76

TBOODS5da,

��.!:1

0,100,:.00.00200

11I.T6002Tu

�.0200	!0.02,�32	.1oen

2�.0J01

1..�212	21.�.o54	on«n

21.r04o!U

2o.1o0ns

2�.1	02�.1

2..M050302

f20f..221l0�

!001...00000100100

AmTl(NmfeonisaN4ta1NI

mg<.

0.200�0.01004.00

,2.401

k20.5033.8

lh­131.3

1	0o3..B0m1

1.40.11	1.3.o24.Q9614

1,.9.0as1

8o...18583"1'3

1..3606s.Ba2

2..108212

3..8055,192	o02.3m,44

301.8o606.5900

ChbrideTotatallPhmPhc.s,1

�-asPpfDii§�

0.0000220000

i;o:F"0.0407ea

10497

lf,i.'10..04231

�1II:wO0.ose.3.0618

0,.....0642

..009178

,..0....572

0..007764M

0..01&4119

,,06041349

0.,0554888_	_t0o..0:2o2572

0O.OSCl3	- 0.0811510

90..O00.J421

090..0.112

L96O.4I

101.OJ.

12041	:ul60.t6

.0,41	0790.18

0490602

620.1382	08.1115	07.20.-4331

1170255.

0.1150

�U• PNARAMDER DEETT"EER°CMTAEi:"ONiTHORiMEIOT BY NPOES

6/i;/2018

�	�10.5

�11.8

19.4

�	20T

1a3

-,-

17.4	27.1	2	65.9	31.8	65.90

00..00084200	0,0200	0 00200100

1&Jan°17	15,Feb-17

VALENCIA WATER CONlROL DISTRICT WATER  QUALITY  SAMPLING RESULTS

22-M.....n

S. SHINGLE CREEK AT THE BEACHLINE

0.04020039

..0200....	..02000122	00,.02100	0..00210!!00

0..20002000

00..0503502

1S-Mar-17	21-ADr-17	16-Jun-17	28-Jul-11	�""'i'::::: 17	�-17	13.Qct-17	,o�ov-17	15-Dec-17

TPoataralmNoter     ..,	Units	MDL

0..9(11

0.64905

0.647	O0.A70803

0.7730	0.702229	0.-493

.85027

.892	.,02	.708	0,630	.636 AVG

0.892 MAX

NCoilrib!elaaNI	0.0200	.,..,	0.0200 	0.0200

0..200000

N03+nNic:01tNia1rm:s N11n

0.0200

.......,

0.()557

o0..0..335

0.0200

0.561

1..0020000	0,880	0.708	O.ll30	.762 	1.050

TSS

19.500	25..43.60100	,,....	,,.,..	29.100	,.....	..63.1000	5.190	71<,650.800	7.<.1.42.	.......

Ninllll"n NJ

-�	0.0100	0510	0.0555	00304

o......

0.0,00

0.0200	0.0520	.1020

00200	.0200	.2000	0.056'1	0.2000

iField OO

TFoeca:a!lScColiclslomi

"cu"' OOmL

,01...0002..00   50

,000.02..,005700

520.0000.2001600	025..00300.000200	0,0oo31000

◄1059.048..00200	050,000.0016300

1D5.071.300000	05.7.000.1�7200	01,08..oo01.000000	8509..000.9012000

753..000.7180900

,015._.0.00.,21300

30..9.02....581808	04150JM6270.,000000

OA<	1.31	...

,

Codmhnn

-

0.100

,.,.,..,.	:61.11.00050

Nl1J

FieldpH (\DlsJ	PH

10..000100

17.�00700

17..079000

71..1....1()

71..007ll00

1,..00....	7.3000	71.A75OOO	1.1m

,7.0000.,

.133000	71..003300

,7....5100

1.14	U	7

--

...

;"""5M'"""'r
,Thallun

·-·

I\..

,

F'""'"eldT111mn.  C

........,,,

0.110000

140000	275.000	299.000	336.000	37SI.OOO	229.000	194.000	244.000	134 000	207.000	209.000	322.000	,.....,	m.ooo

TCKhlori:leN as NI
,...,_.......

UPI

FieldTl#bkily

0.100	'""'	30..1201	U!JO	0,100	.....	'·""'	2.900	7.750 	1.570

·6"70

1920	..,...02	<-121	.1..570,.

0.80

m.._

,_

........

......

........

3190

14.8.2250

012.509.50

"

,.,,_	=

01..000100

0.05

9	0 0917

OJl!MO	0.1101281

01..030490

0.1430

0.1100

00..60651  3

.3800

.0302

0.64

M914

......

5A211	5.090	7.150

2.00

23.10.

000200

00.00020002

0.00200

USO

0.00200

0.00200

0.(1()200

0.00200

0 00200

0.00200

.00200	.00200

0.00200

42.0000

-	0.01000

00100	0.00100

0.0010010000

023500	0,00010100

o0.,.,00100,.

0 01580	0.05270	.16100

0.01000

01000

.....

0.000520010

.00200	.00200	0.00200

31.SO

21..35

.0()100

o......

0.57IOO

..,,.,.

0..0020000100

tl..01118()	0 01430

0.01730

0.0001710080	0.02110

,01560

0.0001213000	0.0001810010	0.0001360100

..·00"008""10070

0..0000810010

,01130

.0001500100

O.OOZIJ10010

"•"'""'

0.000500

0..RIIOCOOO...WOO

D.01000

00.1'<00035001

0.000500

0.0651	0.000500	aooosoo

0.000500

0Jl0160

�,,.

0.0638

0.......014'

.000500	Q0..0004010500	.0400050017 	000500

0000500

o..,,..	0.00200

0.00200	0.00200

.

000500

0..000500	0..000500

Boron	0..0000100200

0010..0

0.000200	0.000200

0.0040012700

0.000200

.000200

0..0000330200

.0303

.0284

0 00100

.00100

.00170

77.19.

"'"

..

0,00200	0.00200

00200

.00200

0,00200

.00200

.00200

0 00000000100

0.000500

.000500

0,00.160000100

0.001958

.014900

3190

0.000200	0.000200	.000200	0 000200	.000200	.000200

O0..Ol5000112700

CliromiJm

00100

0,...,,

0D..00050000100
D.00100

0.00100

0,00160

00..00000100500	0.00210

0.00110

0.00130

0.00100

.00100

0.00100

......

0·.°"'00143

.......

0.00100

00.IX00010170

0�'88

0.00100

0.00100

0.00130

0.00100	0.00100	0.00100

0.000500

.000500	0.01◄900

0.002<0

..0000100

.00100

0.00100	0.00100

0.00100

.,...,
Load

0.00100

D.00100	0.0000110000	0 0001100	0D.,0010030

o0..o00c1100110	0..00000021900010	0..00001110000

0.0039000100

0..0023000100

0..00100

.oa,oo

0..001,4000

0U.000111673005

O0..OO00H100O

0.00200	0.00200

0.00200

:�denum

,	0.00100	O0l.0Clol11ZB0O	0.001<0	000200 	0.00220

0.00100

.00100

0.00120

......

Nickel

0.00100	.

0.00100	0,00130

0.001◄0

0.00100

0.00170	0,00100

0.00110

0.00100

0.00100

0.00130

0.00117

0.00170

,uoo

17,500	17.100

0.801
.....,

.22.00

064..7

..	0.00100	OOOiOO

0.00100	.00100

0.00100

0,00100

0.00100	0.00100	0.00100

0.00100	.00100

0.0010I

.00100

r.
v ....r-

0.00500	.....

.......	00500

......

.....	.00500	.00500	0.00000	0.00500

0.00500	.00500	0.00500

19.60

.00200

0.00500

ooasoo

.....

0.00100

0.00190	0.00200

0.00200

0.00200	0.00190

.001<0

0.00270

0.00270	0.00160

....,.,

......

be
Tota1 Alkaiirtv caco3	"""-

01..00100

"""""...0..100

08.5000100

.0100

0...0...100

010901.00

0S9.000100	59"1.9000

072.0.50103

4020.00173	059,0.71004

..,,.

"100	0.0113

18.!IOO

07.00

100.oa

C8aun

'	0.100	>HOO

3'.200	30.600

37.fiOO

25.000	......

,0,900

15200

2'.800	..,.6.000	33.<00

28.117

l7.IOO

,M	0.0100
.mo

02520	,1880

0,111K>

0.1010	0.7500	.4380

......

0.3130

04920	.!'7<0	.2120

.,,..

.7..5..IO

0.0100	�700

92.60

5.7200

.4000	3.0600	2.2800

.....

2.7100	.....	.....

3.1725

.....

'	0.0100

.o,,,

0.0168

10.0140	0.0122

.0130

0.0318

.0184

0,.0182

D2..0111000	02..'600238	om	0"100

......

ons

0,00

.....

2.990

2.400

2.!160

0638

20.900

2.41.30300

11.800

1..833300

215.7.50030	6.470	11.800

14.....300

3.160	2.745
1!1.3417

1,0..

s.o"""•"""m "
Total Hardnan a C.C03	m

0......100

92.000
100.00

4.6300	2800
9250'.000.00	62024.7.0000

98.200

108.000	67.500

uoo

81622.3,0000

1.0lOO

017.7.7550

7.95

13.50

118.00

26852,7.00

82068.50.000

9202.08000	I2D10.98.502	1,.08.,.000

TDS

2.50

0.01750

,02320

0!18&,0203080

.1081.09060	154.10000.00	14.065.020QO

0.03370

0.0'2S10

00550

0.10000

.10000

....10...000

Ortho
BODSd�

0.00200	.01880
2.00

20..05090	2.00	2.00

2.,70030	2.14	2.00	2.00

_.,,
,...

2.88000

20..70008

2..60030

02...702.....30

1.·0"50

Total �ltaPI

0.00200

0.04MO

0,..0,5210

0.04090

0..04708010

.0<200	.06070

0..060811220

0..0806816010

.05850

o.�na	.02880	0""224
0.04302

.0608818010

Dlnot.<ed
Solf•�

0.00200

0.03960
•�20

...,.

01&.039650 0	0,03960

19.0.002250	0.05100	21

1.()50
60

22.04.90250	05.0003000	0.02290

4.70

2UOO		21000	,._..,.,''""'		........

UNDER  DETECTABlE LIMIT	
 • PARAMETER MONITORED BYNPDES	

ffl

5 00

17.20

11.60 -�

17.10

.30_ -� �	_

2'.70

NI

---

VALENCIA WATER CONTROL DISTRICT WATER QULAITY SAMPLING RESULTS

2lhlul-17

.17 I 13{1ct-1T

2.117.Zl!IO

0.365

11..Jan-17

15.feb-17

Units
Imo'-

0.<>200 MDI.

,,,.,.,.

0.6500..619555

0.7850.0920693

O11A.,7022943-9   -

01..080011

D10...706010392

M59D.0620.-497

0:-0.071.....

11011...841820900

1,.1034

o.o2QWO1,110

o.iioo'0.200.814

1.020iTzi,_,.. AVG

iiio1.110   MAX

�

FField"dl pHCondjunbucti¥itfy

Cola,

ICU

050..o.()21)000100	��

a.m­o.ow

o.oi	o

"005..00002390	O0!.0..00Q2201	0..008820

o.oiso.oii"

ra:oio0.057

0.041	G0..Ol02O1

.2a!!!2.01_9

0oToii",.oo

an0.114

iMiiuiii.....

�

-

FecalColifofm

'mpnt100mL

1.00	�1�0

�,.o

'i:i.iMi1,7...1.0

0 05                 8		0.0 69	0.024

,:0228»0

,err...

'0.023	�0;,02.o1-

50..00041

ii,1'U

aii-·

;;;;;;;;;;;;;

1w"
oe

�	.P...-H

o.oomsoO1»Jl0100

,0:0.S

ii.oii'ffi'7.6800

3.8074'i00

2.�.43

I2.00

l'2.'°83o

0.021�_c!5

0.037

;'56.,950067	3.83

9.253.4

7ci51'�

iii4i]s

i.iii

"'

iIToo0.100

592

siiii""""

7l.350000

,,..	307.07500

i.136002

"...'.,

..........

�10.00200

!:!L!0:-fi0.1980

:iioio".i'91o

0D..00215100

0.0.0020743

0.002001050100

0..0020015€,100

�0.00200.1060

.o0..m002014

:1,..0005620170

..00135020

1\07M�.0010

l.1201=

i:iioio'.1960

Fiut! Tei.

;z---NTIJ

0.100

twoi:300

21.iiio6.170

ii.ioo'T,iio

1025.2905.1.90000

S3..030120	5..820110

351380.000

i.iio30.100

'28.950AOO

..37.2500600

�:�

11M.26O0O

itii""25.475

St.OOIII

I�

�	.....

:0:,001.00

[i330

i.siii332

s.iiiio1.89

2.73	3.3                 8	2.18

2500

ifio

2.31	.87

.1..7.9..

�...··

,if,...

ilia .,..

�

�

Sod""'

�

Sulfala

Barium

m.,._..

ro:ooiooo.0005000 00200

0.0010ii:iioos0�0281

:oora1rnil  .02911

Q.00050.0003410

0Oo..o.39800ooos10

0 0000&453	ln.00001659

0..000000191085

0...020005002108

..00050138

::ooii'.0200

1..00030195	i.iiii'1iJiooi.0297	i]o,ii.'iooi.0643

cad""""m'ium

0.0002000100

DD..00002788

;o:iii5iJ"2

Q.0508ciiiooi

O.oo02GS96

0.00008721	0.03000302

0.00003525

0.00020218

..00002323

::asu::ooi5i'

�	�D.GOD2	�

".ooi'o

2.01)

��	0D0...000011100

o.ooio0.0010

[0.0010o.iioro

a.ooio

0.00,109

0..0030000101	0..()()1002007402

o.ooio0.0013

0..008211

...00600010

::ooro::&510::ooio

�1]01o,0037

i0o.01i001!5

��......,0.0010 

�I.MdM,

lo.oowoD.00100

o.iiii3ioliiffi'D.0010

0.0014

Q.0026o.ooiE'o.ooii

0...D030000119	00..001104 	0.0013

0.00460.0010o.ooii5'

0.0010	.0010

::oo:io

:oov�.0011

o.iiiiiii.i01ii.oD1i

10.0010

NSeickleerilum

lo.oom:o'.'oozoo'

0.0010o.oo:iii

o.roio0.0020

o.ooi10.0020o.ooo5

0.000000021!560

0...CXICl00200150

0.000000021605

0.00W'iioo20

0..OOM00200010

...002000050010

::m­]iii

i]ojj'1,002023

�10.0014 

��0.0020

�	�;0.00100

o.ixioiD.0010

ajiooso]o;;;0.0010

1i:ii1iio0.0010

100..00500100

10,0010

0.0000510

Q.00050 	0010.

�0.0050

0,005010	�..00500010

']oij.0010

1,.,005010

01..0005010

,..005010

,.,--v........

�[oioo""0m.00o100

�l0.010010.0043

aliioo0.oo37

=0»039

100.0002931.0000

09.6000.6010026

1O0°6."50Q03.C.30100

10 0029

,501.000.!5013333	60.00300.8018Z

',•."°"...'.

,1.00017311

ii0,0035

,i'.iiii,0050

;;;.-­'roi.i

c,co,

lrlii>-'l.. .

oiioo0.100

Talo"31.40

�Taii,.43

i4i'"37.30

;4:06.1.53(1

0.1.201

2o8.4.270

ii]o

moa.if",...

11022.35.70	290.56.50

�3iooi,

,.,.

10,._,..3.1,

iii:ii.61

-=..;;;;;;--....

,_	o.otOO0.5000100

lffi"".D.0.1.

7	�	0!1.10..2071

8011.1.7610	-403...056151

�!o.44![E3.7101

a];'f2i

103.0282

33...650913	��

,,,.0..1

0.4...5.011

'iJi""11.10

�

'Pctassium

._	i.sooa.too

,43..90,

111237001

�,5 50

1111548.26.00	91422.10	7296.90

2iw"

.:iiinso

6393.30	2851 40

�8.1'0

@._�114

49112	IT

TToDtalS Hardness1as C.C031

2.50

,,.--

1102

1[450	468	264

,..

;;,-...-­

214	512

...n,

4,2..4	I•""'

0.00200

0.0020262

376

�	:02..0020	02..000020	03..01001 0

0.00202.00

o.ri2o2.00

02.700820

20..002000

0.1000

38220..100000

102..012872

13,..011000

27.5

�0.200

2.050.0101.050

2.000.010

�.693

,o0.8183

01..005010

o0..91Bn5

0.,409107

,0.,0...17

01..313!i07	01..713400

r.oo­ii:i_;o1.110

0.0860.000

0,..9112

D1.33304

Tata1 PhMpharustas� 01aaiv.t

0.0020016.0

!!:!.-0.0-t18

�0.0427,,2.0

0109.023.04831

:'016.0223.039

018.00506726.07

4o07..009.869309

48.30.0228

ii.'f'0..02255

050.8.006.25473	309.04040.8150

�-C.0270

m:o0.01950.0100

ii:/""1,..0..2.aa.

0·»-130

::oow

9Q.8

15-Mar-17

21'"'4W"-17_ I     22-11.,-C�17-3 CAINAL16-Jun-17

25-Aui;i-17

1o-Nov-17

15-0ec-17

:8723.9500	8830.408008.000	27357.37002.000

7.1500

us.........

1
UNPDAERRAMED£rETCERfA5MONL.£ UMITITORED BY NPOES

o.ooioo'�

0.044218.3

ram3o.3

31.6

!22.9

12.6

�io.e

23.4

63.2	24.2

n:r	m-

C3	iii

AN N UAL BOARD OF SUPERVISORS M EETI NG 

AGENDA
2018 ANNUAL MEETING OF THE BOARD OF SUPERVISORS OF VALENCIA WATER CONTROL DISTRICT
JUNE 12, 2018
Item:

1.	Call meeting to order
Administer Oath of Office to Newly Elected Supervisor
Election of President of Board of Supervisors
Appoint District Attorney (Presently Stephen F. Broome)
Appoint District Engineer (Presently David E. Mahler)
Appoint District Treasurer & Director (Presently George S. Flint)
Appoint District Deputy Treasurer (Presently James A. Gerard)
Appoint District Secretary (Presently Stephen F. Broome)
Appoint District Deputy Secretaries (Presently William Ingle, Ed Neal, Gregory Bales and Debra Donton)
Approval of May 8, 2018 Minutes
General Fund Financial Reports 12.	Engineer' s Report
Attorney's Report
Director's Report
Other Business
Adjournment

MINUTES OF THE MONTHLY MEETING OF THE BOARD OF SUPERVISORS
OF VALENCIA WATER CONTROL DISTRICT
May 8, 2018
The monthly meeting of the Board of Supervisors of VALENCIA WATER CONTROL DISTRICT was held at 1:00 P.M. on Tuesday, May 8, 2018, in the Lake Ridge Village Clubhouse, Williamsburg Subdivision in Orlando, Florida. Present were Supervisors James Gerard, Greg Bales, Ed Neal and Debra Donton. Also in attendance were the following: Stephen
F. Broome, District Attorney; George Flint, District Director; David Mahler, District Engineer; Stacie Vanderbilt, District Administrative Assistant; Teresa Viscarra, District Accounts Payable; and Donna Finklestein, Lake Ridge Resident.
ITEM#l	Call Meeting to Order

Mr. Flint called the meeting to order at 1 :00 PM.

ITEM#2	Approval of April 10, 2018 Minutes
Mr. Flint stated the next item was the minutes from the April 10, 2018 monthly meeting.
He asked if there were any corrections, deletions or additions. There being none,

ITEM#3

On MOTION by Mr. Gerard seconded and carried, with all in favor the minutes of the April 10, 20 18 Monthly Meeting of the Board of Supervisors were approved.
General Fund Financial Reports

Mr. Flint stated that the financials were included in the agenda and asked if there were any questions.
Mr. Neal asked if the budget amounts were prorated through the period listed.
Ms. Viscarra stated that they were.
Mr. Neal stated that some of the account lines appeared low.
Mr. Flint stated that it was mainly due to timing since the mowing just began last week.

May 8, 2018	Valencia Water Control District
The District's financial reports for the period ending 4/30/18 were accepted as distributed.

ITEM#4	Engineer's Report

Mr. Mahler reported that there were still washouts being worked on and that the hotel that was currently under construction encountered some issues that he was working with them on. He stated that he was working on the annual report that would detail which proj ects were on the horizon. He stated that canal maintenance was needed in several areas and that he had worked with Bill Tew and Dan Brown to come up with a priority list. He stated that the C-4 outfall control structures are rusting because they are corrugated metal and the C-9 weir at Gifford Boulevard has a hollow spot under the structure. He stated that there was a special foam that could be used to fill hollow spots that is both effective and less expensive than solid material. Discussion ensued. He stated that necessary increases were made to the budget in order to work on those items. He stated that there were no pending permits at this time.

ITEM#S

There being none, next item followed.

ITEM#6

Attorney's Report

Budget for Fiscal Year 2018-2019, Proof of Publication and Tax Levy Resolution

Mr. Flint stated that a revised budget had been handed out prior to the meeting. He explained the line items that had changed due to Bill Tew's resignation and noted that the Canal Maintenance line item was increased to accommodate the maintenance proj ects and the Capital Reserves for any emergency repairs. He stated that the per unit amount had changed from the version in the agenda due to receiving the tax roll from Orange County and that the number of units reduced from last year.
Mr. Gerard asked why units decrease.
Mr. Flint stated that there could be a number of factors but most likely because of change in structure and/or combining of lots.

2

May 8, 2018	Valencia Water Control District
Mr. Flint stated the proof of publication of the notice of the budget was included in the agenda package and the tax levy resolution reflected the proposed levy of $61.52 per year which is approximately $7 higher than last year.

On MOTION by Mr. Gerard seconded and carried, with all in favor the Fiscal Year 2018-2019 Budget and Tax Levy Resolution were adopted.

ITEM#7	Director's Report
Consideration of Amendment to Management Agreement with GMS-CF, LLC
Mr. Flint stated that there had been an increase in calls to his office since Bill Tew's retirement. He stated that he met with a few residents on their issues and had Dan and Dave look into some of them as well since he is still acclimating. He stated that this agreement was amending the Management Agreement to include the District Director services.
Mr. Broome stated that the agreement looked good and was a savings to the District.

On MOTION by Mr. Neal seconded and carried, with all in favor the First Amendment to the Management Agreement with GMS­ CF, LLC was approved.

ITEM#8	Other Business
A.	Discussion of Request from Windmill Point Village Resident

Mr. Flint stated that the letter from the resident was received prior to the April meeting and was placed on this agenda for Board discussion.
Mr. Gerard stated that it was a liability issue to have people in the ponds and that special privileges could not be given.
Discussion ensued.
Board consensus to deny the resident 's request and have Director send a letter to the resident with a copy to the Board.
Mr. Neal asked when the annual structure report would be available. Mr. Mahler stated that it would be presented next month.

3

May 8, 2018
ITEM#9
The meeting adjourned at 1:35 P.M.

Adjournment

Valencia Water Control District

Stephen F. Broome, Secretary

James A. Gerard

William Von Ingle

Ed Neal

Greg Bales

Debra Donton

4

12:56 PM
06/05/1.B
Accrual Basis

Valencia Water Control District Balance Sheet
As of May 31 , 2018

ASSETS
Current Assets Checking/Savings
101200 • SunTrust Sank • Checking 101210 • suntrust-Money Market Account 101400 · Cash- Reserves
101500 · Cash • Operating 1 02000 • cash on hand
Total Chacklng/Savlnga Total current Assets
Fixed AsSetS 164000 • Land
164190 • Structures
164290 • Canals
164590 • Ponds
188190 • Equipment & Office furniture
199000 • Accumulated Depreciation

May 31 , 18 

319,999.87
100,404.28
150,745.16
50,248.37
100.00
 	621 ,497.68
621 ,497.68

700,120.00
656,605.00
2,888,690.00
1 ,245,537.00
12,767.28
-4,741 ,594.98

Total Fixed Assets	 	
TOTAL ASSETS
LIABILITIES & EQUITY
Llabllltlea
Current Llabllltles AcCOunts Payable
202001 • Accounts payable

217300 • FUTA/SllTA payable	27.00	
TQtal Other Current Uabllltlea	27.00	
Total Current LlabllltlH	-1 ,024.68	
Total Uabllltlea	-1 ,024.68	
E:qulty
271 000 • Fund balance-t.1nres.,-ved	
260,981 .08	
271 020 • Fund balance-'Unruserved-002	4,900.00	

Total Account8 Payable Other Current Uabllltles

762,1 24.30
1 ,383,621 .98

·1 ,051.68
·1 ,051.68

2711 00 · Fund. Balance -Reserved 2n130 • C11nals & Pond Maintenance
Total 271100 • Fund Balance -Reserved
2801 oo • Net Aaseta capitalized Netlncome
Total Equity
TOTAL LIABILITIES & EQUITY

----1-8,356.42
1 8,356.42
868,157.39
 	_ 	_2_34...:..,251 .77
1,384,646.66
1,383,621.98

Page 1

12:58 PM
06/05/18
Accrual Baals

Income

Valencia Water Control District Profit & Loss Budget vs. Actual
October 2017 through May 201 8
Oct '17- May 18	 	Budget	

Ordinary Income/Expense
319100 • Drainage tax assessment	

481 ,206.32	

438,788.40	

42,41 7.92	
381001 • Interest earnings .:. GF	1,079.45	0.00	1,079.45	
Total Income	482,285.77	 	438,788.40		
Gross Profit	482,285.77	438,788.40	43,497.37	
Expenaa
511200 • Supervisor Compensation
51 2000 · Emplc,yee Salaries	
1 ,250;00
27,000.00	
1,750.00
36,000.00	
-500.00
9,000,00	
621000 • FICA taxes	2,006.50	2,786.84	-701 .14	
524000 • Workers' compensation	500.00	800.00	-100.00	
525000 • Futa/SU18 Unemployment TX
631 100 • Management Fees	27.00
22,733.36	212.68
21 ,333.36	-1 85.68
1 ,400.00	
631200 • Engineering 88Mce&	14;700.00	1 6;800.00	-2,100.00	
531.300 • Legal services	8,000.00	8,000.00	o.oo	
631800 • Website Creation/Maintenance	400.00	400.00	0.00	
531700 · Report Preparation • NPDES	19,065.30	9,686.68	9,398.62	
63�00 • Auditing
534100 • Aquatic weed control	0.00
14,875.00	5,000.00
20,000.00	-5,000,00
-5,125.00	
534200 • Canal a retention pond	65,292.84	106,686.68	·41 ,373.84	
534300 · · Mowing	20,788.32	60,000.00	-39,21 1 .68	
534400 ·· Water quality monitoring	11,51 8.50	1 3,333.36	·1 ,814.86	
634500 • Janitorial	917.00	1 ,333.36	-416.36	
540000 · Travel & per diem	1 08.07	133.36	-25.29	
541100 • Freight	0.00	133.36	·133.36	
641200 • Postage	151 .89	333.36	·181 .47	
541500 • Internet
643000 · Utility services	868.35
161 .62	1 ,000.00
868.88	-31 .65
-505.06	
544000 • Office Lease	8,413.44	8,440.00	·26.56	
544300 · Meetlng· Room Rental	300.00	350.00	-50.00	
646000 • Insurance	11 ,500.00	1 2,650.00	-1,1 50.00	
546200 · R&M � gtu1eral	2,n1 .so	0;00	2,n1.so	
546300 · R&M • office	475.00	686.68	·191 .68	
546400 · R&M • security gates & signs	337.50	686.68	-329.18	
547000 • Printing & binding	1 67.10 	333.36	·1 66.26	
649200 • Other chga-elactlons	2,953.78	2,800.00	153.78	
549300 • Other Chga-mlacellaneous	1 05.60	266.68	·161 .08	
54!Mll0 • Other Chgs,,NPDES	3,308,00	2,666.68	64L32	
549500 • Other chgs-legal advertising	488.67	800.00	-31 1 .33	
549800 • Other chga- Banking Fees	0.00	200.00	·200.00	
549800 • Contingency
549900 • Other Chrga-OC Prop. Appr. Fee	O;OO 5,386.00	533.36
6,408.00	·533.36
·22.00	
551000 · Office Supplies	129.66	666.68	·537.02	
552100 · Operating aupplles
554000 • Pubs, aubscrlpa & members	0.00
1,1 75.00	686.68
2,1 50.00	·666.68
------975.0-0	
Total Expense	248,034.00	--34-5-,39-4.32	----97-,3-60-.-32	
Net Ordinary Income	 	234,251 .77	 	93,394.08	1 40,857.69	
Net lncome	234,251.77	93,394.08	1 40,857.69	

$ Over BUdget

Page t

12:59 PM'	Valencia Water Control District
06/05/18	Profit & Loss

Ordinary lncome/Expenee
319IOO • Dralnage 1BX..-.nent 361001 · lntereat-nings • Gf	-0ct-17 -
0.00
10.63		
NCJY 17

32,aae.n
9,71		
Dec 17

281 ,705.85
11 .97	
Jan 18

61 ,906.Bjl
 	14.38		-Feb-1-8·-
,44,242.19
 	32.02		..  �M-ar-�18
27,953,51
 	312.63		
As,,18 

28,798.80
 	333.03	
Mllll 18

3,780.52
355.08	·-TOT-AL---
481 ;20fl.32
1 ,079A5		
Total lncciffla	10.63		32,848;48		281 ,717.82	81,921.26		44,27421		28,266.14		2:9,131�	4,115.60	482;285.77		
Gros■ Profit	1 0.63		32,848,48		281,717.82	61,921.26		44,274.21		28,266.14		29,131 .63	4,115.60	482,285.77		
El<penee
5112Dp • Superv!■or Compensation	
150.00		
0.00		
250.00	
250.00		
1 50.00		
0.00		
250.00	
200.00	
1 ,250.()()		
512()00 • Employee Salaries	4,500.00		4,500.00		4,500;00	4,500.00		4,500.00		4,500.!)0		0.00	0.00	27.000.00		
521()00 • acAlalCN . . . .
524000 .• Wor1cenl' compensation	344.25
0.00		34425
0.00		344.25
500.00	344.25
0.00		344o.2o5o		344.25
0.00		0.00
o.�	0.00
0.00	2,065.50
500.00		
1525000 • Fuia/Suta Unemployment Tx 531100 • Management Fees
1131200 • Engirleel1ng servli::es	4.50
2,866.87
2,100.00		4.50
2,666.67
2,100.00		4.50
2,686.67
2,100.00	4.50
2,666.67
2,100.00		:!,666;67
2,100.00		4.50
2,688.67
2,100.00		0.00
2,666.67
2,100.00	0.00
4,066.67
0.00	27.00
22,733.36
14,700.00		
53'1.300 • Legal aervlcas
1131800 • Webelle �
63'1700 • Aaflor'I Prep&nllon • NPDES	1,000.00
50.00
5,1 0625		1,000.00
S0.00
6,927.50		1,000.00
50.00
7,031.55	1,000.00
50.00
0.00		1 ,000.00
5o0.:0o0o		1,000.00
50.Cl!)
0.00		1,000.00
5o0..oo00	1,000.00
50.00
0.00	8,000.00
400.00
19,065.30		
534100 • Aquatic weed control	2,125.00		2,125.00		2,125.00	2,125.00		2,125.00		o.<io		4;250,00	0.00	14,875.00		
534200 • Canal & relllntlan pond	22,773.49		1,500.00		7,264.00	14,3Se.30		2,343.40		14,057.35		0.00	3,018.30	65,292.84		
534300 • Mowing
634400 • Water quality moriltol'lng	13,196.04
0.00		3,796.14
3,291.00		0.00
1 ,645.50	0.00
1,645.50		0.00
1 ,645.50		0.00
1 ,845.50		0.00
1,645.50	3,796.14
o.oo	20;188,32
11 ,51 8.50		
534500 • Janitorial
6.40000 • TnMII & JJef" diem
5.41200 • Po&tage 541500 · IIIU!rnet	131 .00
0.00
14.83
120.40		1 31.00
0.00
27.14
1 20.40		131.00
0.00
11 .01
120.40	13 1.00
108.07
21.52
120.63		131.00
0.00
23.23
120.93		0.00
0,00
32.13
120.93		262.00
0.00
4.70
120.58	0.00
17.33
124.10	917.00
108.07
151 .89
968.35		
543000 · Utility •rvlcaa 544000 •  Office Leaae 54430D • Meeting Room Rental
545000 • lnaurance
54621>D • R&M • general
546300 • R&M • cf1lc:e
546400 • �M • ■ecurl1y gll188 & eigna	43.32.
1,osu;e 50.00
11 ,500.00
0.00
365.00
0.00		41.18
1 ,051.68
0.00
0.00
0.00
45.00
0.00		47.15
1 ,051.68
5o0..ci00o 0.00
0.00
337.50	o.oo
1,051.68
s<i.oo
0.00
o.cio
0.00
0.00		0.00
1 ,051.68
50.00
0.00
0.00
45.00
0.00		O.QO
1 ,051,68
0.00
0.00
0.00
0.00
0.00		0.00
1 ,051.68
50.00
0.00
1 ,00o0..ci0o0
0.00	29.97
1 ,051.68
50.00
0.00
1 ,m.so
0.00
0.00	161.82
8,413.44
300.00
1.1 ,500.00
2,771.50
475.00
337.50		
647000 · Printing & binding 549200 • Other chgs-electlona
549300 • Other �hgs-mlacellanews 549400 • 0lher chge-NPDES
549$00 • Other chgs-legal advertising
&49900 · .Other Chrg.OC Prop. App,. Fee	10.80
0.00
0.00
0.00
0.00
5,386.00		54.90
0.00
7.00
0.00
0.00
0.00		4.20
0.00
0.00
1 ,875.00
148.00
0.00	23.85
0.00
14.00
o.oo
o.oo
o.oo		28.65
0.00
0.00
170.00
0.00		22.20
0.00
7.00
0.00
o0..o00o		0.30
0.00
38.30
1 ,433.00
170.67
0.00	22.20
34.30
0.00
0.00	167.10
2,953.78
u1 0o5e..o6o0		
551000 • � Suppllet
554000 • ·piiba, ■ubilcrlpa & nlelllbenl
Total Expense	21 .23
1,175.cio
73,905.46		21.9)?
0.00
29,805.28		0.69
0.00
33,258.10	21.47
0.00
30,564.44		21.65
----0.00
18,576.46		- 21.20
-0-.-00
27,623.41		0.30
0.00
16,091 .68	2120
0.00
18,207.17	129.66
1 ,175.00
248,034.00		

Accrilal Basia	October 2017 through May 2018
·
IIIQOffle

7.00

0.00

																	
																	
-73,894.83		3,0.il3.20		248,459.72		31 ,358.82		25,695.75		842.73		13,039.95		·14,091.57		234,251.77	
-73,894.83		3,043.20		248,459.72		31,356.82		25,695.75		642.73		13,0.19.95		-14;(191.57		234,251.77	

Net Onflniuy Income Net Income

Page t